FUNCTION	DESCRIPTION	EXAMPLE	RETURN
SET_TSTAMP <mode>	This function set the time stamp. / 1->GPS / 2->INTERNAL / 3->NO_TIMESTAMP	SET_TIMESTAMP 1, / Will set the GPS time stamp	0: success / -1:Unable to set the timestamp / **An error number will be written to the main log
SET_OBJ <object name>	This function will set the name of the object in the header. It is also used to create the appropriat folder	SET_OBJ M31	0: succes / -1:Unable to set the object name
BIAS <void>	This function subtract a bias frame to the scientific images.	BIAS	0:success / -1:Unable to create a bias frame / -2:There is an running acquisition. Stop and retry
GET_CCDT <void>	This function retrieve the current temperature of the EMCCD	GET_CCDT	-1: unable to get the temperature / T(°C): successful

---
SET_CCDT <double(°C)>	This function set the EMCCD temperature set point	SET_CCDT -45.1	0: sucess / -1:unable to set the temperature
CLOSE <void>	This function close the program PESTO.	CLOSE	0: success / -1:Unable to close the program
STOP <void>	This function will stop the acquisition. The function will return 0 only after the current frame is read.	STOP	0: succes / **May take up to the last exposure time value before it return 0
SET_EXPTIME <time (ms)>	This function set the exposure time.	SET_EXP 115.90	0:success / -1:Unable to create set the exposure time
GO <modea> <nbExp> <modeb> <modec>	This function trigger a serie of scientific exposure. / Modea: 1->infinite acquisition / 2-> finite acquisition / Modeb:1-> the command will return after the acquisition is stoped or completed / 2-> the command will return immediately / Modec:1->Target / 2->Sky flat / 3->DomeFlat / 4->Dark / 5->Video / nbExp:number of expositions	GO 2 10 1 2 / This command will take 10 skyflat and will return 0 once the 10 images are taken.	0:succesfull / -1:unsuccessfull

---
SET_GAIN <EMGAIN>	This function set the EM gain	SET_GAIN 254	0: sucess / -1:unable to set the gain / -2: Value is out of range
PRINT_TCS <void>	This function printthe status of tcs. / **mostly used to debug the program	PRINT_TCS	0: success / **if unsuccesful, will return an error text
GET_GAIN <void>	This function retirve the em gain of the camera	GET_GAIN	Gain: Will return the EM gain if succesful / -1: Unsuccessful
OPEN_SHUTTER <void>	This function open the shutter of the camera.	OPEN_SHUTTER	O:succesful / -1: unable to open the shutter
CLOSE_SHUTTER <void>	This function close the shutter of the camera.	CLOSE_SHUTER	0:successful / -1:unsuccesful
SET_RO <readout mode>	This function sets the readout mode of the camera. A description of the readout mode can be found in the documentation or online on the instrument webpage	SET_RO 1	0:succesfull / -1: unsuccessful

---
FW <position>	This function querry a change of position on the filter wheel. The position are H,1,2,3,4,5,+,? / **It is very important to use this function and not the functino positionFW	position H	Current position: Successful / -1: unsuccessful
CONNECT_FW <device>	This function connect a new device on the filterwheel raspberry pi server. / **Used for troobleshooting the filter wheel	CONNECT_FW /dev/ttyUSB0	0:succesfull / -1:unsuccessful
CLOSE_CONNECTION_FW <void>	This function close the connection with the filter wheel. / **Used for troobleshooting the filter wheel	CLOSE_CONNECTION_FW	0:succesfull / -1:unsuccessful
SET_OBS <void>	This function set the name of the observer in the file’s header.	SET_OBS john	0:succesfull / -1:unsuccessful
SET_OPERATOR <void>	This functino set the name of the telescope operator in the file’s header.	SET_OPE Julien	0:succesfull / -1:unsuccessful
			0:succesfull / -1:unsuccessful

---
SET_ROI <offset Y> <height>	This function creates a ROI. If the readout mode is set to EM, up to 8 ROI can be created per image. In conventional, only 1 ROI can be created. The offset is calculated from the top/bottom of the frame. By default the width of the ROI is 1024 pixels.	SET_ROI 100 430 / **Will set a ROI of 1024x430 100 pixels from the top/bottom? of the frame.	0:successful / -1: unsuccessful
GET_BIAS_STATUS <void>	This function will return the staus of the bias. It will take into consideration the timestamp, readout mode, and ROI. / **This function will not be triggered if the temperature of the detector change due to thermomechanical problem. If it does, the bias should be updated manually.	GET_BIAS_STATUS	1: the bias is up to date / 0:The bias is out of date
GET_EXP <void>	This function will retrieve the exposure time (readout time incl.).	GET_EXPTIME	Readout time: successfull / -1: unccessfull
GET_ROMODE <void>	This function retirve the readout mode of the camera.	GET_ROMODE	1-20: successfull / -1:unccessfull
OVERIDEFW <filtre>	This function will override the filtre keyword in the header’s files. This is used whenever there is a problem with the filter wheel to write directly in the headers.	OVERIDEFW g	0: successfull / -1: unsuccessfull

---
ISACQONGOING <void>	This function return 1 if an acquisition is ongoing. It will return 0 if its not. This function can be call at any moment.	ISACQONGOING	0: not on going / 1: An acquisition is ongoing
STOPTHREAD <STOP>	This function stop a serie of acquisition. Unfortunately, the exposition cannot be halted. A message will be displayed every second untill the sequence is stoped.	STOPTHREAD	Always return 0